This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Tue Apr 16 20:19:10 2024 / +0000 GMT

# 909-2-1/2

Product Page: https://jmiltd.com/product/909-2-12/

## Product Summary

CLASS 200 STAINLESS STEEL SWING CHECK VALVE

##### THREADED & SOCKET WELD

## Product Attributes

- D(MM): 65

- Size: 2-1/2

- D(Inch): 2.56

- L(Inch): 7.09

- H(MM): 115

- L(MM): 180

- H(INCH): 4.53

Product added date: 2017-03-14 06:35:00

Product modified date: 2018-01-25 09:51:26

Product export as MS Document by WooCommerce PDF & Print plugin.