This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Wed Apr 17 4:31:35 2024 / +0000 GMT

# YK13-1/2

Product Page: https://jmiltd.com/product/yk13-12/

## Product Summary

3-WAY REDUCED PORT 1000 WOG BALL VALVE,

##### THREADED, 'T' PORT

## Product Attributes

- w1: 0.88

- W2: 1.38

- H: 10-24UNC

- g: 1.48

- F: 1.32

- B: 2.80

- L: 2.95

- D1: 0.96

- Size: 1/2

- D: 0.50

Product added date: 2017-03-06 08:16:24

Product modified date: 2018-01-25 15:16:05

Product export as MS Document by WooCommerce PDF & Print plugin.