This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Tue Apr 16 6:47:02 2024 / +0000 GMT

# YK150-1-1/4

Product Page: https://jmiltd.com/product/yk150-1-14/

## Product Summary

2 PC STAINLESS OR CARBON STEEL

FULL PORT FLANGED BALL VALVE,

##### ANSI 150/300 LB W/ MOUNTING PAD ISO 5211

## Product Attributes

- D1: 6.30

- Ød: 1.26

- Size: 1-1/4

- L: 5.51

- H: 3.94

- H1: 0.45

- P: 1.97

- ØH-N: 0.63-4

- W: 0.43

- ØE: 0.28

- D: 4.62

- T: 0.62

- C: 3.50

## Product Gallery

Product added date: 2017-03-16 07:00:18

Product modified date: 2018-01-25 12:27:32

Product export as MS Document by WooCommerce PDF & Print plugin.