This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Thu Apr 18 23:08:18 2024 / +0000 GMT

# YK150-5

Product Page: https://jmiltd.com/product/yk150-5/

## Product Summary

2 PC STAINLESS OR CARBON STEEL

FULL PORT FLANGED BALL VALVE,

##### ANSI 150/300 LB W/ MOUNTING PAD ISO 5211

## Product Attributes

- D1: 29.53

- Ød: 4.92

- Size: 5

- L: 14.02

- H: 11.10

- H1: 1.04

- P: 4.92

- ØH-N: 0.88-8

- W: 1.06

- ØE: 0.51

- D: 10.00

- T: 0.94

- C: 0.85

## Product Gallery

Product added date: 2017-03-16 07:00:22

Product modified date: 2018-01-25 12:28:27

Product export as MS Document by WooCommerce PDF & Print plugin.