This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Tue Apr 16 6:16:00 2024 / +0000 GMT

# YK17-1-1/4

Product Page: https://jmiltd.com/product/yk17-1-14/

## Product Summary

3-PC FULL PORT 1000 WOG

BALL VALVE, THREADED & SOCKET WELD

##### W/ MOUNTING PAD ISO 5211

## Product Attributes

- D: 0.43

- E: 0.43

- W: 0.55

- H: 2.09

- Size: 1-1/4

- Ød: 1.26

- L: 4.33

Product added date: 2017-03-08 06:16:28

Product modified date: 2018-01-25 16:07:54

Product export as MS Document by WooCommerce PDF & Print plugin.