This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Fri Apr 19 0:53:08 2024 / +0000 GMT

# YK20-4

Product Page: https://jmiltd.com/product/yk20-4/

## Product Summary

STAINLESS STEEL FULL PORT FLANGED

##### CHECK VALVE, ANSI 150 LB

## Product Attributes

- L: 11.50

- H: 6.22

- Size: 4

- Ød: 3.94

- g: 6.18

- T: 0.94

- ØH-N: 0.75-8

- C: 7.50

- D: 9.00

Product added date: 2017-03-09 10:50:51

Product modified date: 2018-01-25 11:03:38

Product export as MS Document by WooCommerce PDF & Print plugin.