This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Wed Apr 17 3:32:15 2024 / +0000 GMT

# YK31-1-1/4

Product Page: https://jmiltd.com/product/yk31-1-14/

## Product Summary

1-PC STAINLESS OR CARBON STEEL

FLANGED BALL VALVE,

##### ANSI 150 LB, W/ MOUNTING PAD ISO 5211

## Product Attributes

- Size INCH: 1-1/4

- Size MM: 32

- A: 1.26

- B: 1.02

- L: 5.5

- D1: 5.71

- H: 3.39

- P: 0.43

- R: 1.97

## Product Gallery

Product added date: 2017-03-06 09:49:06

Product modified date: 2018-01-25 13:59:10

Product export as MS Document by WooCommerce PDF & Print plugin.