This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Tue Apr 16 7:42:21 2024 / +0000 GMT

# YK321FS-SS-21/2

Product Page: https://jmiltd.com/product/yk321fs-ss-212/

## Product Summary

2 PC STAINLESS OR CARBON STEEL

FULL PORT FLANGED BALL VALVE,

##### ANSI 150/300 LB W/ MOUNTING PAD ISO 5211

## Product Attributes

- H: 4.29

- L: 7.48

- R: 4.13

- C: 5.49

- Size: 2-1/2

- D: 7.01

- F: 0.06

- H1: 6.69

- D1: 12.6

- n-Øh: 4-0.75

- T: 0.65

## Product Gallery

Product added date: 2017-03-07 06:40:56

Product modified date: 2018-01-25 13:50:12

Product export as MS Document by WooCommerce PDF & Print plugin.