This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Thu Apr 18 20:25:02 2024 / +0000 GMT

# YK511-2

Product Page: https://jmiltd.com/product/yk511-2/

## Product Summary

1-PC 800 WOG STAINLESS STEEL BALL VALVE,

REDUCED PORT, THREADED END

## Product Attributes

- Ød: 1.26

- Size: 2

- E: 5.2

- F: 1.93

- L: 3.94

- H: 2.83

Product added date: 2017-03-07 07:12:43

Product modified date: 2018-01-24 14:58:15

Product export as MS Document by WooCommerce PDF & Print plugin.