This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Fri Apr 19 0:06:32 2024 / +0000 GMT

# YK511-3/4

Product Page: https://jmiltd.com/product/yk511-34/

## Product Summary

1-PC 800 WOG STAINLESS STEEL BALL VALVE,

REDUCED PORT, THREADED END

## Product Attributes

- Ød: 0.49

- Size: 3/4

- E: 3.54

- F: 1.13

- L: 2.32

- H: 2.13

Product added date: 2017-03-07 07:12:43

Product modified date: 2018-01-24 14:54:22

Product export as MS Document by WooCommerce PDF & Print plugin.