This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Tue Apr 16 11:45:22 2024 / +0000 GMT

# YK522-SS-2-1/2

Product Page: https://jmiltd.com/product/yk522-ss-2-12/

## Product Summary

2-PC 2000/1500/1000 WOG BALL VALVE

##### FULL PORT, STAINLESS OR CARBON STEEL, THREADED END

## Product Attributes

- E: 9.72

- H: 5.04

- Size: 2-1/2

- Ød: 2.56

- I: 0.47

- L: 6.3

- G3: 2.76

- M (UNC): 1/4-20

- G1: 2.17

- G2: 1.38

## Product Gallery

Product added date: 2017-03-07 07:24:32

Product modified date: 2018-01-24 15:59:17

Product export as MS Document by WooCommerce PDF & Print plugin.