This page was exported from J & M International [    https://jmiltd.com    ]

Export date: Thu Apr 18 17:15:04 2024 / +0000 GMT

# YK524-1-1/2

Product Page: https://jmiltd.com/product/yk524-1-12/

## Product Summary

2-PC 1000 WOG BALL VALVE, FULL PORT

##### STAINLESS OR CARBON STEEL, THREADED END

## Product Attributes

- Size: 1-1/2

- Ød: 1.50

- E: 7.52

- H: 3.27

- L: 4.09

## Product Gallery

Product added date: 2017-03-08 06:07:10

Product modified date: 2018-01-24 16:49:04

Product export as MS Document by WooCommerce PDF & Print plugin.